## Results_with_diagram
Refrigerant cycle | Enthalpy(kJ/kg) | Pressure(barA)
Compressor Inlet | 393.5054 | 1.6085
Condenser Inlet/Compressor Outlet | 485.4068 | 11.6148
EXV Inlet/Condenser Outlet | 248.9098 | 11.595
Evaporator Inlet/EXV Outlet | 248.9098 | 1.8545
Evaporator Outlet | 392.898 | 1.608
Compressor
Mass flow rate (kg/h) | 75.6434
Power consumption (W) | 1931.0387
Evaporator
Heat Transfer rate-total (W) | 3057.054
Heat Transfer rate-sensible (W) | 2490.7022
Air outlet temperature(°C) | 12.5351
Air outlet RH(%) | 100
Condenser
Heat Transfer rate (W) | 4981.961
Air outlet temperature(°C) | 35.2462
Orifice
Orifice opening area (mm2) | 1.1004
Orifice opening dia (mm) | 1.187